MetCleaning v1.0.0 Instruction

Xiaotao Shen (shenxt@sioc.ac.cn); Zhengjiang Zhu

November 24th, 2016

Introduction

MetCleaning package provides an integrated and automatic pipeline for data cleaning and statistical analysis of large scale mass spectrometry (MS) based-metabolomic data. It includes missing value (MV) filtering and imputation, zero value filtering, data normalization, data integration, data quality assessment, univariate statistical analysis, multivariate statistical analysis such as PCA and PLS-DA, potential marker selection and show. This document describes how to use the functions included in MetCleaning utilizing demo data.

Figure 1. The workflow of MetCleaning and R functions for data cleaning and statistical analysis.

Installation of MetCleaning

MetCleaning can be installed from Github.

if(!require(devtools)) {
  install.packages("devtools")
}
 devtools::install_github("jaspershen/MetCleaning",ref="version1.0.5)

library("MetCleaning")

Help document of MetCleaning

help(package = "MetCleaning")

Figure 2. The help document of MetCleaning.

Organization of files

The metabolomic dataset from initial processing software (such as XCMS and MZmine) and sample information need to be placed in a folder：

Figure 3. The data organization for MetCleaning.

1. "data.csv" is the metabolomic dataset you want to process. Rows are features and columns are feature abundance of samples and tags of features. The tags of features must contain "name" (feature name), "mz" (mass to change ratio) and "rt" (retention time). Other tags of features are optional, for example "isotopes" and "adducts". The name of sample can contain ".", but cannot contain "-" and space. And the start of sample name cannot be number. For example, "A210.a" and "A210a" are valid, and "210a" or "210-a" are invalid.

Figure 4. The metabolomic dataset for MetCleaning.

2. "sample.information.csv" is sample information for metabolomic dataset. Column 1 is "sample.name" which is the names of subject and QC samples. Please confirm that the sample names in "sample.information.csv" and "data.csv" are completely same. Column 2 is "injection.order" which is the injection order of QC and subject samples. Column 3 is "class", which is used to distinguish "QC" and "Subject" samples. Column 4 is "batch" to provide acquisition batch information for samples. Column 5 is "group", which is used to label the group of subject sample, for example, "control" and "case". The "group" of QC samples is labeled as "QC".

Figure 5. The sample information for MetCleaning.

3. "peak identification" is optional. You can use the identification information of the metabolomic dataset to do metabolite identification according to mz and RT. Please create a folder named as "peak identification" and place identification information in it. Please note that each name of identification information need to contain "ms2" like figure 6 shows.

Figure 6. The identification information for MetCleaning.

Data cleaning

Use the demo data of MetCleaning as an example.

1. Set the folder where you place files as work directory.

##demo data of MetCleaning
data(data, package = "MetCleaning")
data(sample.information, package = "MetCleaning")
data(new.group, package = "MetCleaning")

data(ms2_1, package = "MetCleaning")
data(ms2_2, package = "MetCleaning")
data(ms2_3, package = "MetCleaning")

##set demo work directory
dir.create("Demo for MetCleaning")
setwd("Demo for MetCleaning")
path <- file.path(getwd(), "peak identification")
dir.create(path)

##write files

#metabolomic dataset, sample information and identification results
write.csv(data, "data.csv", row.names = FALSE)
write.csv(sample.information, "sample.information.csv", row.names=F)
write.csv(new.group, "new.group.csv", row.names = F)
write.csv(ms2_1, file.path(path, "ms2_1.csv"), row.names = F)
write.csv(ms2_2, file.path(path, "ms2_2.csv"), row.names = F)
write.csv(ms2_3, file.path(path, "ms2_3.csv"), row.names = F)

2. Import data into R.

met.data <- ImportData(data = "data.csv",
                       sample.information = "sample.information.csv",
                       polarity = "positive")
##save data
met.data.raw <- met.data
save(met.data.raw, file = "met.data.raw")                              ##help for ImportData                                                  ?ImportData

"met.data" is a standard class in MetCleaning. It contains the metabolomic dataset, sample information. You can see the information of it through typing its name.

met.data

3. Filter and impute missing values. (If there are no missing values, this step can be skipped)

Use MZoverview function to investigate the missing values in metabolomic dataset.

MZoverview(MetFlowData = met.data, path = "MV overview", what = "mv")  ##help for MZoverview                                                  ?MZoverview

A new folder named as "MV overview" is created. "MV overview" contains the missing value information of each batch:

Figure 7. The MV information of metabolomic dataset.

"Batch x feature MV distribution.pdf" give the missing value distribution for features of each batch:

Figure 8. The distributions of MV ratios in features in subject and QC sample, respectively.

"Sample MV distribution.pdf" give the missing value distribution for samples:

Figure 9. The distributions of MV ratios in samples. There are there samples are outliers.

Use MZfilter to filter missing values in metabolomic dataset.

met.data <- MZfilter(MetFlowData = met.data,
                     obs.per.cutoff = 0.5,
                     var.per.cutoff = 0.5,                                                  what = "mv", path = "MV filter")
#save data
met.data.mv.filter <- met.data
save(met.data.mv.filter, file = "met.data.mv.filter")                  ##help for MZfilter                                                    ?MZfilter

MZfilter filter missing values according to the missing value ratios in each feature and sample. If the missing value ratio of one feature in subject or QC samples is larger than the cutoff value (default is 50%), this feature would be removed from the data. And if the missing value ratio of one sample is larger than the cutoff value (default is 50%), this sample also should be removed. The removing of sample is optional.

Figure 10. The running result of MZfilter. In this example, there are no QC samples are removed. And three subject sample should be removed. You can type the index of samples which you want to remove. And if you don’t want to remove any samples, you should type n and then clink Enter key.

Use MVimputation to impute missing values in metabolomic dataset.

met.data <- MVimputation(MetFlowData = met.data,
                         #MV imputation method
                         imputation.method = "knn",
                         #knn parameters
                         k = 10)
#save met.data
met.data.mv.imputation <- met.data
save(met.data.mv.imputation, file = "met.data.mv.imputation")          ##help for MVimputation                                                ?MVimputation

4. Filter zero values.

Use MZoverview function to investigate the zero values in metabolomics dataset.

MZoverview(MetFlowData = met.data, path="Zero overview", what="zero")

This is same with MV overview.

Use MZfilter function to filter zero values:

met.data <- MZfilter(MetFlowData = met.data,
                     obs.per.cutoff = 0.5,
                     var.per.cutoff = 0.5,                                                  what = "zero",
                     path = "Zero filter")
#save data
met.data.zero.filter <- met.data
save(met.data.zero.filter, file = "met.data.zero.filter")

5. Identify features according to identification results and HMDB database.

#Using the MS2 identification information of QC
met.data <- PeakIdentification(MetFlowData = met.data,
                               #parameters for matching
                               mz.tolerance = 30,
                               rt.tolerance = 180)                      ##help for PeakIdentification                                         ?PeakIdentification
#save data
met.data.peak.iden <- met.data
save(met.data.peak.iden, file = "met.data.peak.iden")

#Using the HMDB database for identification according to mass
met.data <- MassIdentification(MetFlowData = met.data,
                               mass.tolerance = 30,
                               polarity = "positive")
#save data
met.data.mass.iden <- met.data
save(met.data.mass.iden, file = "met.data.mass.iden")                  ##help for MassIdentification                                          ?MassIdentification

A new folder named "matching result" is created in "peak identification", it contains the identification result, and the identification results are also added in to tags.

Figure 11. The running result of peak identification.

"identification.information.txt" record some identification information.

Figure 12. The information of peak identification.

MassIdentification utilize accurate mass to identify features in HMDB database. The identification results are added in tags. "HMDB.match.result" is the matching result, it contains the "HMDB.name", "HMDB.ID", "Formula", "Mass", "HMDB.adduct" and "mz.error". "HMDB.identification" is the identification result with the least m/z error.

Figure 13. The HMDB identification results in metabolomic dataset.

6. Detect QC sample outliers (PCA score plot).

Use QCOutlierFilter function to filter QC sample outliers.

met.data <- QCOutlierFilter(MetFlowData = met.data,
                            CI = 0.95,
                            path = "QC outlier filter")
met.data.qc.outlier.filter <- met.data                                 save(met.data.qc.outlier.filter, file = "met.data.qc.outlier.filter")  ##help for QCOutlierFilter                                             ?QCOutlierFilter

A new folder named as "QC outlier finder" is created, it contains QC outliers for each batch. The QC samples which are outside the 95% confidence interval in PCA score plot are considered as outliers, and are labeled as red color.

Figure 14. The PCA score plot of QC samples for each batch.

7. Normalize metabolomic dataset.

met.data <- DataNormalization(MetFlowData = met.data,
                              method = "svr",
                              threads = 2)
#save data
met.data.nor <- met.data
save(met.data.nor, file = "met.data.nor")                              ##help for DataNormalization                                           ?DataNormalization

A new folder named "Normalization result" is created, it contains the normalization for each batch:

Figure 15. The running results of DataNormalization.

Data normalization for each batch:

Figure 16. Data normalization results for each batch.

8. Detect subject sample outliers.

Use SubjectOutlierFilter function to filter outliers in subject samples.

met.data <- SubjectOutlierFilter(MetFlowData = met.data,
                                 CI = 0.95,
                                 path = "Subject outlier filter")
met.data.subject.outlier.filter <- met.data                            save(met.data.subject.outlier.filter,                                                    file = "met.data.subject.outlier.filter")            ##help for SubjectOutlierFilter                                        ?SubjectOutlierFilter

A new folder named as "Subject outlier finder" is created, it contains outliers in each batch. The subject samples which are outside 95% confidence interval in PCA score plot are considered as outliers and labeled as red color.

9. Integrate several batch datasets as an integrative dataset. (If there is only one batch, this step can be skipped)

met.data <- DataIntegration(MetFlowData = met.data)
#save data
met.data.integration <- met.data
save(met.data.integration, file = "met.data.integration")

10. Investigate the batch effect. (If there is only one batch, this step can be skipped)

BatchEffectOverview(MetFlowData.before = met.data.zero.filter,
                    MetFlowData.after = met.data.integration,
                    path = "Batch effect")                             ##help for BatchEffectOverview                                         ?BatchEffectOverview

A folder named as "Batch effect" is created. "Before/After Batch effect in QC/Subject.pdf" utilize PCA score plot and QC total intensity distribution to show the batch effect in QC and subject samples both before and after cleaning.

Figure 17. Batch effect in QC samples in both before and after data cleaning which utilizing PCA score plot.

Figure 18. Batch effect in QC samples in both before and after data cleaning which utilizing the distributions of total intensity and z-score intensity for QC samples.

11. Feature distribution in different batches. (If there is only one batch, this step can be skipped)

MetabolitePlot(MetFlowData.before = met.data.zero.filter,
               MetFlowData.after = met.data,
               path = "metabolite plot")                               ##help for MetabolitePlot                                              ?MetabolitePlot

A folder named as "metabolite plot" is created. Metabolite plot for each feature before and after data cleaning are provided.

Figure 19. An example for one feature distribution in different batches.

12. Investigate RSD distribution.

RSDoverview(MetFlowData.before = met.data.zero.filter,
            MetFlowData.after = met.data.integration,
            path = "RSD overview")                                     ##help for RSDoverview                                                 ?RSDoverview

A folder named as "RSD overview" is created. "RSD distribution in all batches.pdf" is the RSD distribution for each feature in all batches. "RSD distribution in different batch.pdf" is the RSD distribution for each feature in each batch.

Figure 20. The running results of RSDoverview.

Figure 21. The distribution of feature RSDs in QC samples in each batch and all batches.

13. Data overview.

DataOverview(MetFlowData = met.data,
             path = "Data overview")                                   ##help for DataOverview                                                 ?DataOverview

"Data overview.txt" record some base information of data.

Figure 22. The information of metabolomic dataset.

"Data overview_RT vs mz vs intensity.pdf" shows the distribution of features:

Figure 23. The distribution of features in m/z and RT.

14. Output data as csv files.

ExportData(MetFlowData = met.data,
           data.name = "data_after_pre",
           subject.info.name = "subject.info",
           qc.info.name = "qc.info",
           path = NULL)                                                #save data
met.data.after.pre <- met.data                                
save(met.data.after.pre, file = "met.data.after.pre")                  ##help for ExportData                                                  ?ExportData

Data are outputted as "data_after_pre.csv", "subject.info.csv" and "qc.info.csv":

Statistical analysis

The metabolomic data after data cleaning can be used to do statistical analysis.

1. Filter features who’s RSDs larger than the threshold. RSDfilter filter the features who’s RSD in QC samples larger than the threshold.

met.data <- RSDfilter(MetFlowData = met.data.after.pre,                                      rsd.cutoff =30)                                  met.data.rsd.filter <- met.data                                        ###save data                                                           save(met.data.rsd.filter, file = "met.data.rsd.filter")                ##help for RSDfilter                                                   ?RSDfilter

2. Give new group information. ReChangeGroup can be used to change new group information in sample information. Change the group information in "sample.information.csv" and name it as "new.group.csv", then place it in data cleaning folder. The samples which you want to remove from the dataset, you can set they group information as NA.

met.data <- ReChangeGroup(MetFlowData = met.data,                                                new.group = "new.group.csv")                 #save data                                                             met.data.new.group <- met.data                                         save(met.data.new.group, file = "met.data.new.group")                  ##help for ReChangeGroup                                               ?ReChangeGroup

3. PCA analysis

PCAanalysis(MetFlowData = met.data,
            log.scale = FALSE,
            QC = TRUE,
            scale.method = "auto",
            path = "PCA analysis",                                                 xlim1 = c(-40, 40),                                                    ylim1 = c(-40, 40))                                        ##help for PCAanalysis                                                 ?PCAanalysis

A new folder named as "PCA analysis" is created. "PCA score plot.pdf" is the PCA score plot.

Figure 24. PCA score plot of PCAanalysis.

4. PLS-DA analysis

PLSanalysis(MetFlowData = met.data,
            #used data
            log.scale = FALSE,
            scalemethod = "auto",
            plsmethod = "plsr",
            path = "PLS analysis",                                                 xlim1 = c(-40, 40),                                                    ylim1 = c(-40, 40))

##Add vip value into tags
    load(file.path("PLS analysis", "vip"))
    vip <- apply(vip, 2, mean)
    tags <- met.data[["tags"]]
    tags <- data.frame(tags, vip)
    met.data[["tags"]] <- tags
##save data
met.data.vip <- met.data
save(met.data.vip, file = "met.data.vip")                              ##help for PLSanalysis                                                 ?PLSanalysis

Analysis results are placed in "PLS analysis" folder:

Figure 25. The running results of PLS analysis.

When you run PLSanalysis function, it give a message to show how many components you want to see:

Figure 26. Choose the component number in PLS-DA analysis.

You can type 10, and type Enter key.

A MSEP plot of cross validation would show:

Figure 27. MSEP plot in PLS-DA analysis.

Then type the component number with the smallest MSEP. In this example, the appropriate component number is five.

Figure 28. Choose the appropriate component number in PLS-DA analysis.

"pls score plot.pdf" is the PLS score plot and "Permutation test.pdf" is the permutation test.

Figure 29. Score plot and Permutation test in PLS-DA analysis.

5. HCA analysis

HeatMap(MetFlowData = met.data,
        log.scale = FALSE,
        variable = "all",
        Group = c("control", "case"),
        scale.method = "auto",
        path = "heat map")                                             ##help for HeatMap                                                     ?HeatMap

Figure 30. Heat map.

6. Calculate the fold change. (If there are more than two group, this step can be skipped)

met.data <- FoldChange(MetFlowData = met.data,
                       to = c("case", "control"),
                       ratio = "median")
##save data
met.data.fc <- met.data
save(met.data.fc, file = "met.data.fc")                                ##help for FoldChange                                                  ?FoldChange

7. Univariate test for two group data.

met.data <- UnivariateTest(MetFlowData = met.data,
                           test.method = "t",
                           adjust.method = "fdr")
#save data
met.data.uni.test <- met.data
save(met.data.uni.test, file = "met.data.uni.test")                    ##help for UnivariateTest                                              ?UnivariateTest

8. Select potential biomarkers.

met.data <- MarkerSelection(MetFlowData = met.data,
                            p = "p",
                            foldchange.cutoff = c(4/3, 3/4),
                            p.cutoff = 0.05,
                            vip.cutoff = 0,
                            path = "marker selection")
#save data
met.data.marker <- met.data
save(met.data.marker, file = "met.data.marker")                        ##help for MarkerSelection                                             ?MarkerSelection

9. Volcano plot

VolcanoPlot(MetFlowData = met.data,
            x = "foldchange",
            y = "p",
            z = "vip",
            vip.cutoff = 0,
            foldchange.cutoff = c(4/3, 3/4),
            p.cutoff = 0.05,
            path = "marker selection")

Figure 31. Volcano plot.

10. Box plots of potential markers.

MarkerShow(MetFlowData = met.data,
           beeswarm = TRUE,
           path = "marker selection")

Figure 32. Boxplot of markers.

11. Export data as csv files.

ExportData(MetFlowData = met.data,
           data.name = "data_after_Stat",
           subject.info.name = "subject.info",
           qc.info.name = "qc.info",
           path = NULL)                                                #save data
met.data.after.stat <- met.data
save(met.data.after.stat, file = "met.data.after.stat")

MetCleaning contains two parts, data cleaning and statistical analysis. To simplify the usage, all the data cleaning procedures are integrated as a function, MetClean, and all the statistical analysis procedures are integrated as a function, MetStat. So, you can use MetClean to do all the data cleaning procedures and MetStat to do all the statistical analysis procedures which are described above.

MetClean to do all cleaning procedures for metabolomic dataset.

MetClean(#ImportData para
       data = "data.csv",
       sample.information = "sample.information.csv",
       polarity = "positive",
       hasQC = "yes",
       #MVFilter para
       obs.mv.cutoff = 0.5,
       var.mv.cutoff = 0.5,
       #MVimputation
       imputation.method = "knn",
       k = 10,
       #ZeroFilter para
       obs.zero.cutoff = 0.5,
       var.zero.cutoff = 0.5,
       #DataNormalization
       method = "svr",
       threads = 2,
       #PeakIdentification
       hmdb.matching = TRUE,
       mz.tolerance = 25,
       rt.tolerance = 180,
       #DataOverview para
       feature.distribution = TRUE,
       met.plot = TRUE,
       path = NULL)

All the parameters of MetStat can be found in previous functions described above.

MetStat to do all statistical analysis procedures for metabolomics data.

MetStat(MetFlowData = met.data,
        rsd.cutoff = 30,
        #transformation para
        log.scale = FALSE,
        #PCA analysis para
        QC = TRUE,
        scale.method = "auto",
        #PLS analysis para
        plsmethod = "plsr",
        #FoldChange para
        fc = TRUE,
        to = c("case", "control"),
        ratio = "median",
        #UnivariateTest para
        test.method = "t",
        adjust.method = "fdr",
        #MarkerSelection para
        foldchange = "foldchange",
        p = "p",
        vip = "vip",
        foldchange.cutoff = c(4/3, 3/4),
        p.cutoff = 0.05,
        vip.cutoff = 0,
        #VolcanoPlot para
        x = "foldchange",
        y = "p",
        z = "vip",
        col = c("black", "firebrick1"),
        #heatmap para
        variable = "all",
        Group = c("control", "case"),
        #MarkerShow para
        path = NULL)

All the parameters of MetStat can be found in previous functions described above.